Things That Could Go Wrong 😊

* Bad Cable
* Broken Pre-Amp
* Pre-Amp not on
* Attenuation on back and in software does not add to 27DB
* Apollo.ini not saved
* Is amplifier on?
* RF Probe not at correct frequency
* RF Probe not at correct height
* RF Probe not pulsing
* Pulse sequence incorrect
* Cables mixed for RX TX
* Filter somewhere where it shouldn’t be
* Lambda/4 incorrect frequency (2.26Mhz)